Pasteura 3, 02-093 Warszawa, Polska, tel: (48-22) 589 2213; fax: (48-22) 822 53 42,

e-mail: a.jachner@nencki.gov.pl; http://www.nencki.gov.pl

__________________________________________________________________________________

Warsaw, 23.10.2017

Request for proposals no 87/2017

for the supply of

system for pulse oximetery (in quantity of 2)

to

NENCKI INSTITUTE OF EXPERIMENTAL BIOLOGY,

of the Polish Academy of Sciences

Procuring Party: Nencki Institute of Experimental Biology,

PAS with its registered office at ul. Pasteura 3, Warsaw (02-093), Tax ID No (NIP):525-000-92-69, Statistical ID No (REGON): 000325825

Contact person for matters related to supply: Anna Posłuszny,

e-mail address: a.posluszny@nencki.gov.pl

- Description of the Subject of the Procurement:

The subject of the procurement is system for pulse oximetry with additional module of temperature control with warming pad and temperature sensor for mice - in quantity of 2.

Pulse oximetry has to be suitable for dark-skinned mice, such as C57BL6 at the age of 4 weeks or more and performed with use of a paw sensor.

Pulse oximetry paw sensor has to have no less than 50 000 hours longevity.

The system has to be standalone - without need of any external device (PC) to operate.

Warranty period for the equipment should be at least 1 year.

Procurement execution deadline should be no more than 7 days from the agreement signing.

- Description of Offer Preparation, and its Assessment:

The Offer must be drawn up on template 1 enclosed to the Request. The Offer must contain the following:

- Information on total gross and net value of the procurement: The price offer should include.

- Deadline for the execution of the procurement

- Proposals must be sent electronically as a photocopy of the original proposal via e-mail at:  a.posluszny@nencki.gov.pl Please mark the proposal in the subject of the message: pulse oximeter

- Only the proposals containing all points listed above will be considered.

- If the procurement meets the technical requirements listed in Detailed description  the Procuring Party considers the price criterion while making the choice.

- Additional information:

- An agreement will be signed with the selected Contractor for the purpose of the execution of the procurement.

- The Procuring Party reserves the right to negotiate the agreement with the best Bidders.

- The Procuring Party reserves the right to choose none of the Bidders.

Deadline for submitting proposals: not later than 30.10.2017 r., at 16:00

Appendix 1: Form Template

Name and address of the Contractor…………………………………………

| No | Deatiled DESCRIPTION | Requirement met (YES/NO) | Comments |
| --- | --- | --- | --- |
| 1. | system for pulse oximetery suitable for dark-skinned mice, such as C57BL6 (at the age of 4 weeks and more) with module of temperature control with warming pad and temperature sensor for mice - in quantity of 2 |  |  |
| 2. | pulse oximetery performed with use a paw sensor suitable for mice |  |  |
| 3. | pulse oximeter sensor longevity – 50 000 hours or more |  |  |
| 4. | Standalone without need of external PC to operate |  |  |

TOTAL PRICE: …………………………………………………………

Procurement execution deadline: ……………………………

Warranty period: …………………………………………………

……………………………………………                                …….……………………………………

Place, date                                                 Signature and seal of the Contractor