Pasteura 3, 02-093 Warszawa, Polska, tel: (48-22) 589 2213; fax: (48-22) 822 53 42,

e-mail: a.jachner@nencki.gov.pl; http://www.nencki.gov.pl

__________________________________________________________________________________

Warsaw, 13. Nov. 2017

Request for proposals no 94/2017

for the supply of

IR-DIC camera for electrophysiology setup

to

NENCKI INSTITUTE OF EXPERIMENTAL BIOLOGY,

of the Polish Academy of Sciences

Procuring Party: Nencki Institute of Experimental Biology, PAS with its registered office at Pasteura 3, Warsaw (02-093), Tax ID No (NIP):525-000-92-69, Statistical ID No (REGON): 000325825

Contact person for matters related to supply: Tomasz Jaworski

e-mail address: t.jaworski@nencki.gov.pl

Deadline for submitting proposals: not later than: 23 Nov.2017 r.  15:00

- Description of the Subject of the Procurement:

The subject of the procurement is

- A monochromatic CCD sensor with a matrix of a minimum resolution of 1024x1024

- At least 30% quantum efficiency for near infrared imaging (800 nm)

- At least 50% quantum efficiency for imaging within the range of 500 nm to 700 nm

- Framerate of at least 22 fps

- Minimum exposure time less than 30s

- USB 3.0 interface

- Compatibility with Windows 7.0

- C-mount optical mount

- The product should be covered by a full two-year warranty

- The product should be covered by the installation and maintenance training if required by the warranty agreement

- Sale agreement realization shall not exceed 4 weeks

- Description of Offer Preparation, and its Assessment:

The Offer must be drawn up on template 1 enclosed to the Request. The Offer must contain the following:

- Information on total gross and net value of the procurement: The price offer should include:

- Deadline for the execution of the procurement

- Proposals must be sent electronically as a photocopy of the original proposal via e-mail at:

- Please mark the proposal in the subject of the message:

- Only the proposals containing all points listed above will be considered.

- If the procurement meets the technical requirements listed in Detailed description  the Procuring Party considers the price criterion while making the choice.

- Additional information:

- An agreement will be signed with the selected Contractor for the purpose of the execution of the procurement.

- The Procuring Party reserves the right to negotiate the agreement with the best Bidders.

- The Procuring Party reserves the right to choose none of the Bidders.

Appendix 1: Form Template

Name and address of the Contractor………………………………………………………………………..

| No | Deatiled DESCRIPTION | Requirement met (YES/NO) | Comments |
| --- | --- | --- | --- |
| 1 | A monochromatic CCD sensor with a matrix of a minimum resolution of 1024x1024 |  |  |
| 2 | At least 30% quantum efficiency for near infrared imaging (800 nm) |  |  |
| 3 | At least 50% quantum efficiency for imaging within the range of 500 nm to 700 nm |  |  |
| 4 | Framerate of at least 22 fps |  |  |
| 5 | Minimum exposure time less than 30s |  |  |
| 6 | USB 3.0 interface |  |  |
| 7 | Compatibility with Windows 7.0 |  |  |
| 8 | C-mount optical mount |  |  |
| 9 | The product should be covered by a full two-year warranty |  |  |
| 10 | The product should be covered by the installation and maintenance training if required by the warranty agreement |  |  |
| 11 | Sale agreement realization shall not exceed 4 weeks |  |  |

Price…………………………………………………

Procurement execution deadline:……………………………………….

Warranty period:…………………………………………………..…………….

……………………………………………                                …….……………………………………

Place, date                                                          Signature and seal of the Contractor