Pasteura 3, 02-093 Warszawa, Polska, tel: (48-22) 589 2213; fax: (48-22) 822 53 42,

e-mail: a.jachner@nencki.gov.pl; http://www.nencki.gov.pl

___________________________________________________________________________________________

Warsaw, May 9th, 2018

Request for proposals no 23/2018

for the supply of

optical rotary joint to

NENCKI INSTITUTE OF EXPERIMENTAL BIOLOGY,

of the Polish Academy of Sciences

Procuring Party: Nencki Institute of Experimental Biology,

PAS with its registered office at ul. Pasteura 3, Warsaw (02-093), Tax ID No (NIP):525-000-92-69, Statistical ID No (REGON): 000325825

Contact person for matters related to supply: Kacper Kondrakiewicz

e-mail address: k.kondrakiewicz@nencki.gov.pl

- Description of the Subject of the Procurement:

The subject of the procurement is optical rotary joint and splitter for in vivo optogenetic experiments with FC input and outputs. The device should allow to connect two optical fibers to one source of light, split the light into two beams of equal power (with preferred power loss not higher than 20%) and ensure that both fibers could freely rotate together. Numerical aperture should be optimized for laser applications (~0.2 - 0.4). The torque during rotation should be suitable for work with small mammals, such as rats. Minimal warranty period is 12 months. Please specify in the offer all the components of the device (if the rotary joint is sold together with a holder and/or additional optic fibers).

- Description of Offer Preparation, and its Assessment:

- The Offer must be drawn up on template 1 enclosed to the Request.

- The Offer must contain the following

Information on total gross and net value of the procurement: the price offer should include:

- optical rotary joint & splitter

- at least 12 months warranty

- optional: accessories (holders, optic fibers)

- Information on deadline for the execution of the procurement

- Proposals must be sent electronically as a photocopy of the original proposal via e-mail at: k.kondrakiewicz@nencki.gov.pl

- Please mark the proposal in the subject of the message: optical commutator

- Only the proposals containing all points listed above will be considered.

- If the procurement meets the technical requirements listed in Detailed description  the Procuring Party considers the price criterion while making the choice.

- Additional information:

- An agreement will be signed with the selected Contractor for the purpose of the execution of the procurement.

- The Procuring Party reserves the right to negotiate the agreement with the best Bidders.

- The Procuring Party reserves the right to choose none of the Bidders.

Deadline for submitting proposals: not later than May 18th, 2018, 10.00 AM

Appendix 1: Form Template

| No | Detailed DESCRIPTION | Requirement met (YES/NO) |
| --- | --- | --- |
| 1. | Optical rotary joint & splitter (1 FC input, 2 FC outputs) |  |
| 2. | Numerical aperture optimized for laser applications (~0.2 - 0.4) |  |
| 3. | Torque suitable for work with small mammals, such as rats |  |
| 4. | Overall power loss not higher than 20% (summing both output channels) |  |
| 5. | Optional: accessories, such as holder or optical fibers |  |
| 6. | Warranty: at least 12 months |  |

Price:…………………………………………………………………….

Procurement execution deadline:……………………………………….

Warranty period:…………………………………………………..…………….

……………………………………………                                …….……………………………………

Place, date                                                 Signature and seal of the Contractor