Pasteura 3, 02-093 Warszawa, Polska, tel: (48-22) 589 2213; fax: (48-22) 822 53 42,

e-mail: a.jachner@nencki.gov.pl; http://www.nencki.gov.pl

___________________________________________________________________________________________

Warsaw, 19.12.2018

Request for proposals no 84/2018

for the supply of

multichannel electrodes to

NENCKI INSTITUTE OF EXPERIMENTAL BIOLOGY,

of the Polish Academy of Sciences

Procuring Party: Nencki Institute of Experimental Biology,

PAS with its registered office at ul. Pasteura 3, Warsaw (02-093), Tax ID No (NIP):525-000-92-69, Statistical ID No (REGON): 000325825

Contact person for matters related to supply: Kacper Kondrakiewicz

e-mail address: k.kondrakiewicz@nencki.gov.pl

Deadline for submitting proposals: not later than January 9th, 2019, 10.00 AM

- Description of the Subject of the Procurement:

The subject of the procurement are multichannel electrodes for in vivo electrophysiological recordings. The electrodes should allow to record both local-field potentials and single unit activity from large number of channels (at least 300 per chank) with configurable geometry. The design should allow for recording from freely-moving rats and mice.

- Description of Offer Preparation, and its Assessment:

- The Offer must be drawn up on template 1 enclosed to the Request. The Offer must contain the following:

- Information on the total price of 5 electrodes

- Deadline for the execution of the procurement

- Proposals must be sent electronically as a photocopy of the original proposal via e-mail at: k.kondrakiewicz@nencki.gov.pl

- Please mark the proposal in the subject of the message: electrodes

- Only the proposals containing all points listed above will be considered.

- If the procurement meets the technical requirements listed in Detailed description  the Procuring Party considers the price criterion while making the choice.

- Additional information:

- An agreement will be signed with the selected Contractor for the purpose of the execution of the procurement.

- The Procuring Party reserves the right to negotiate the agreement with the best Bidders.

- The Procuring Party reserves the right to choose none of the Bidders.

Appendix 1: Form Template

| No | Deatiled DESCRIPTION | Requirement met (YES/NO) | PRICE | Comments |
| --- | --- | --- | --- | --- |
| 1. | 5 multichannel, active and CMOS based electrodes | Yes | 6000 EU (excl. VAT) |  |
| 2. | minimum 300 recording points per chank | Yes |  |  |
| 3. | parallel data streams for local field potential and single-unit recording | Yes |  |  |
| 4. | configurable geometry of recording points | Yes |  |  |

Procurement execution deadline:……………………………………….

Warranty period:…………………………………………………..…………….

……………………………………………                                …….……………………………………

Place, date                                                 Signature and seal of the Contractor