Addendum No 2

To the Procurement Regulations

Warsaw,  April 1st,  2019.

THE REQUEST FOR QUOTATION NO. 23/2019

for the supply

Optosplit II Bypass

to the Nencki Institute of Experimental Biology

of the Polish Academy of Sciences

The Contracting Authority : the Nencki Institute of Experimental Biology of the Polish Academy of Sciences, with a registered seat at 3 Pasteur St., Warsaw (02-093), NIP: 525-000-92-69, REGON:000325825

The contact person regarding the procurement order: Piotr Michluk

The e-mail address: p.michaluk@nencki.gov.pl

The deadline for submitting quotation bids: no later than by 9th April 2019, by 9 am.

I. The subject matter of the contract description:

The subject matter of the contract is the delivery of the following equipment and devices:

- Optosplit II BP image dispenser "Bypass" (magnification x1.0), containing a dedicated bypass mirror for single-channel imaging, rectangular input diaphragm and calibration cube. Optimized for large sensor cameras up to 16 mm x 16 mm (eg sCMOS sensors). The system should include a fluorescent cube for 25 mm filters, a corrector lens kit and a neutral density kit. The image splitter should work with EMCCD cameras such as QuantEM:512SC and with inverted microscope Zeiss Axio Observer.

- DC / T565lpxr dichroic mirror with upgrade to ultra-flat dichroic.

II. The quotation bid preparation description and its evaluation

- The quotation bid should be prepared on the template No. 1 attached to this Request.

- The quotation bid should include Information on the total net value and gross value of the contract: The Contractor whose quotation bid has been selected before signing the contract will provide the following scans: a certificate of entry in the business register, a REGON (statistical identification number) certificate and a certificate of NIP (VAT identification number) awarding.

- The quotation bids should be sent electronically by e-mail in the form of a scanned original o quotation bid to the following address: p.michaluk@nencki.gov.pl ………………………………………………….

- Please mark the quotation bid in the title of the message: OptosplitII Bypass …………………..

- Only quotation bids including all the above-mentioned elements will be evaluated.

- In the selection process, the Contracting Authority will be guided by the price criterion when meeting the (yes/no) contract requirements specified in the table of Appendix No. 1

III. Additional information:

- In order to execute the contract with a selected Contractor, a contract agreement shall be concluded.

- The Contracting Authority reserves the right to negotiate the terms of the contract with the best Contractors.

- The Contracting Authority reserves the right not to choose any of the Contractors.

- The selection of the Contractor will be announced on the Contracting Authority’s website immediately after the end of the contract award procedure.

Appendix No. 1: The quotation bid template form

The Contractor’s name and address: ………………………………………………………

The contact person: ………………………………………………………………………….

The name, model/ producer ……………………………………………………………………………….

……………………………………………………………………………………………………………………………………………………

|  | THE DESCRIPTION , rating for parameters and requirements | The fulfillment of the requirement (YES / NO) | COMMENTS |
| --- | --- | --- | --- |
| 1 | Optosplit II Bypass |  |  |
| 1.1 | Contains a dedicated bypass mirror for single-channel imaging |  |  |
| 1.2 | Contains a rectangular entrance shutter and a calibration cube |  |  |
| 1.3 | Includes a fluorescent block for 25 mm filters |  |  |
| 1.4 | Includes corrector lens kit and neutral density kit |  |  |
| 1.5 | Works with EMCCD cameras eg. QuantEM:512SC |  |  |
| 1.6 | Works with inverted microscope Zeiss Axio Observer |  |  |
| 2 | Emission dichroic DC/T565lpxr |  |  |
| 2.1 | Upgrade to ultra flat dichroic |  |  |

The net price ……………………………………………………………………………………………….. Euro,

…………………………….. % VAT …………………………………………………….……………………. Euro

The gross price ………………………………………………………………………………………….. Euro

The date of order fulfillment 30.04.2018……………………………………………………………………………….

The guarantee period: 1 year………………………………………………………………………………………………………

…………………………………………………………………

………………………………………………………

Place, date					The Contractor’s stamp /signature