Warsaw, dated 24.04 2019.

THE REQUEST FOR QUOTATION NO.33/2019

for the supply

caging system with exhaust-ventilated technology

to the Nencki Institute of Experimental Biology

of the Polish Academy of Sciences

The Contracting Authority : the Nencki Institute of Experimental Biology  of the Polish Academy of Sciences, with a registered seat at 3 Pasteur St., Warsaw (02-093), NIP: 525-000-92-69, REGON:000325825

The contact person regarding the procurement order:

Tomasz Nikołajew

The e-mail address:t.nikolajew@nencki.gov.pl

The deadline for submitting quotation bids: no later than by May 9th, 2019, by 16:00

I. The subject matter of the contract description:

The subject matter of the contract is: caging rack with up to 50 individually ventilated cages, able to accommodate up to three rats weighing 300-400 g each, with at least 5 year warranty

II. The quotation bid preparation description and its evaluation

- The quotation bid should be prepared on the template No. 1 attached to this Request.

- The quotation bid should include Information on the total net value and gross value of the contract: The Contractor whose quotation bid has been selected before signing the contract will provide the following scans: a certificate of entry in the business register, a REGON (statistical identification number) certificate and a certificate of NIP (VAT identification number) awarding.

- The quotation bids should be sent electronically by e-mail in the form of a scanned original o quotation bid to

the following address: t.nikolajew@nencki.gov.pl

- Please mark the quotation bid in the title of the message: Quotation for caging system

- Only quotation bids including all the above-mentioned elements will be evaluated.

- In the selection process, the Contracting Authority will be guided by the price criterion when meeting the (yes/no) contract requirements

III. Additional information:

- In order to execute the contract with a selected Contractor, a contract agreement shall be concluded.

- The Contracting Authority reserves the right to negotiate the terms of the contract with the best Contractors.

- The Contracting Authority reserves the right not to choose any of the Contractors.

- The selection of the Contractor will be announced on the Contracting Authority’s website immediately after the end of the contract award procedure.

Appendix No. 1: The quotation bid template form

The Contractor’s name and address: ………………………………………………………

The contact person: ………………………………………………………………………….

The name, model/ producer ……………………………………………………………………………….

……………………………………………………………………………………………………………………………………………………

|  | THE DESCRIPTION | The fulfillment of the requirement (YES / NO) | COMMENTS |
| --- | --- | --- | --- |
| 1. | Rack dimension should be up to 200cm(+-10cm) high, 110cm(+-10cm) width and 100cm(+-10cm) depth |  |  |
| 2. | Rack weight should be maximum 250kg(+-10kg) |  |  |
| 3. | Rack should be able to contain between 40 and 50 single cages |  |  |
| 4. | Single cages floor area should be around 850cm2 (+-50cm2) |  |  |
| 5. | Cages should be autoclavable and reusable |  |  |
| 6. | Cages should have a feeder and up to two bottles capacity |  |  |
| 7. | Cages should be able to accommodate up to 3 laboratory rats weighing between 3000 and 400g |  |  |
| 8. | Transport, instalation to the ventilation system |  |  |
| 9. | The training for at least 3 people |  |  |
| 10. | The warranty 60 months |  |  |
| 11. | The date of order fulfillment: up to 8 weeks from contract signing |  |  |

The net price ……………………………………………………………………………………………….. PLN,

…………………………….. % VAT …………………………………………………….……………………. PLN

The gross price ………………………………………………………………………………………….. PLN

The date of order fulfillment …………………………………………………………………………………………….

The guarantee period ………………………………………………………………………………………………………

…………………………………………………………………

………………………………………………………

Place, date					The Contractor’s stamp and signature