Addendum No 2

Warsaw, 20 May,  2019.

THE REQUEST FOR QUOTATION NO. 43/2019

for the supply

two video-based eye tracking systems (for MRI and behavioral setup)

The Contracting Authority: the Nencki Institute of Experimental Biology of the Polish Academy of Sciences, with a registered seat at 3 Pasteur St., Warsaw (02-093), NIP: 525-000-92-69, REGON:000325825

The contact person regarding the procurement order:

Kalina Burnat-Kuijpers

The e-mail address: k.burnat@nencki.gov.pl

The deadline for submitting quotation bids: no later than by 27 of May 2019, by 10 am CET

I. The subject matter of the contract description:

The subject matter of the contract is two video-based eye tracking systems that enable fast and automatic controlling of the eye movements of the subjects (sampling rate up to 2000 Hz and high-precision recording (error < 0.5⁰)). One for behavioral laboratory setup and second for the MR scan environment (3T Siemens TRIO scanner). Both eye-tracking systems should have the same parameters high-precision recording of eye movements, preferably provided by the same producer. Importantly, the scientific application of the eye-tracking system should be confirmed by at least 10 publications in Journals with Impact factor higher than 4.

II. The quotation bid preparation description and its evaluation

- The quotation bid should be prepared on the template No. 1 attached to this Request.

- The quotation bid should include Information on the total net value and gross value of the contract: The Contractor whose quotation bid has been selected before signing the contract will provide the following scans: a certificate of entry in the business register, a REGON (statistical identification number) certificate and a certificate of NIP (VAT identification number) awarding.

- The quotation bids should be sent electronically by e-mail in the form of a scanned original o quotation bid to the following address: k.burnat@nencki.gov.pl

- Please mark the quotation bid in the title of the message: “eye-trackers”

- Only quotation bids including all the above-mentioned elements will be evaluated.

- In the selection process, the Contracting Authority will be guided by the price criterion when meeting the (yes/no) contract requirements

III. Additional information:

- In order to execute the contract with a selected Contractor, a contract agreement shall be concluded.

- The Contracting Authority reserves the right to negotiate the terms of the contract with the best Contractors.

- The Contracting Authority reserves the right not to choose any of the Contractors.

- The selection of the Contractor will be announced on the Contracting Authority’s website immediately after the end of the contract award procedure.

Appendix No. 1: The quotation bid template form

The Contractor’s name and address: ………………………………………………………

The contact person: ………………………………………………………………………….

The name, model/ producer ……………………………………………………………………………….

……………………………………………………………………………………………………………………………………………………

|  | THE DESCRIPTION | The fulfillment of the requirement (YES / NO) | COMMENTS |
| --- | --- | --- | --- |
| 1. | MR-compatible, video-based, eye tracking system with average accuracy 0.5 deg. data output pupil size. |  |  |
| 2. | Desktop mount and mount for MR (3T Siemens TRIO scanner). |  |  |
| 3. | Front-surface reflecting mirror (compatible with 12 channel head coil). |  |  |
| 4. | Camera with real time data access ~1.4 msec effectives between 40-70 cm and 60-150 cm (MRI setup). |  |  |
| 5. | Camera with real time data access ~1.4 msec effectives between 40-70 cm and 60-150 cm. |  |  |
| 6. | Screen clamp mount, aluminum stand and power cable (19 m) for out-of-bore setup. |  |  |
| 7. | Experiment builder and data viewer software bundle with USB license key. |  |  |
| 8. | The installation. |  |  |
| 9. | The training for 5 persons. |  |  |
| 10 | The guarantee not shorter than 24 months. |  |  |
| 11. | The date of order fulfillment: no longer than 5 weeks from the date of signing the contract. |  |  |

The number of publications in Journals with Impact factor higher than 4 (confirmation of scientific application):……………………

The net price ………………………………………………………………………………………………. PLN,

…………………………….. % VAT …………………………………………………….……………………. PLN

The gross price …………………………………………………………………………………………. PLN

The date of order fulfillment …………………………………………………………………………………………….

The guarantee period ………………………………………………………………………………………………………

________________					__________________________

Place, date					The Contractor’s signature