Addendum No 2

To the Procurement Regulations

Warsaw, dated 13.06.2019.

THE REQUEST FOR QUOTATION NO. 57/2019

for the supply

MR compatible monitor with mobile stand

to the Nencki Institute of Experimental Biology

of the Polish Academy of Sciences

The Contracting Authority : the Nencki Institute of Experimental Biology  of the Polish Academy of Sciences, with a registered seat at 3 Pasteur St., Warsaw (02-093), NIP: 525-000-92-69, REGON:000325825

The contact person regarding the procurement order: Bartosz Kossowski

The e-mail address: b.kossowski@nencki.gov.pl

The deadline for submitting quotation bids: no later than by 24.06.2019, by 12:00

I. The subject matter of the contract description:

The subject matter of the contract is: MR compatible monitor with mobile stand and power supply unit.\Decription:

32” diameter in 16:9 ratio

1920x1080 pixel resolution

minimum 120 Hz refresh rate at 1920x1080 resolution

digital DVI, DisplayPort or HDMI input

minimum contrast ratio 1000:1

automatic compensation of brightness for temperature and ageing

operational in a fringe field of 3T MR magnet

power supply unit

height-adjustable, MR safe mobile stand.

Guarantee min4 weeks, order fulfillment: no later than up to 4 weeks from the contract signing

II. The quotation bid preparation description and its evaluation

- The quotation bid should be prepared on the template No. 1 attached to this Request.

- The quotation bid should include Information on the total net value and gross value of the

contract: The Contractor whose quotation bid has been selected before signing the contract will

provide the following scans: a certificate of entry in the business register, a REGON (statistical

identification number) certificate and a certificate of NIP (VAT identification number) awarding.

- The quotation bids should be sent electronically by e-mail in the form of a scanned original o

quotation bid to the following address: b.kossowski@nencki.gov.pl

- Please mark the quotation bid in the title of the message: MR compatible monitor

- Only quotation bids including all the above-mentioned elements will be evaluated.

- In the selection process, the Contracting Authority will be guided by the price criterion when

meeting the (yes/no) contract requirements.

III. Additional information:

- In order to execute the contract with a selected Contractor, a contract agreement shall be

concluded.

- The Contracting Authority reserves the right to negotiate the terms of the contract with the best

Contractors.

- The Contracting Authority reserves the right not to choose any of the Contractors.

- The selection of the Contractor will be announced on the Contracting Authority’s website

immediately after the end of the contract award procedure.

Appendix No. 1: The quotation bid template form

The Contractor’s name and address: ………………………………………………………

The contact person: ………………………………………………………………………….

The name, model/ producer ……………………………………………………………………………….

……………………………………………………………………………………………………………………………………………………

|  | THE DESCRIPTION | The fulfillment of the requirement (YES / NO) | COMMENTS |
| --- | --- | --- | --- |
| 1. | 32” diameter in 16:9 ratio |  |  |
| 2. | 1920x1080 pixel resolution |  |  |
| 3. | minimum 120 Hz refresh rate at 1920x1080 resolution |  |  |
| 4. | digital DVI, DisplayPort or HDMI input |  |  |
| 5. | minimum contrast ratio 1000:1 |  |  |
| 6. | automatic compensation of brightness for temperature and ageing |  |  |
| 7. | operational in a fringe field of 3T MR magnet |  |  |
| 8. | power supply unit |  |  |
| 9 | height-adjustable, MR safe mobile stand. |  |  |
| 9. | The installation |  |  |
| 10. | The guarantee min. 24 months |  |  |
| 11. | The date of order fulfillment: no longer than 4 weeks from the contract signing |  |  |

The net price ……………………………………………………………………………………………….. PLN,

…………………………….. % VAT …………………………………………………….……………………. PLN

The gross price ………………………………………………………………………………………….. PLN

The date of order fulfillment …………………………………………………………………………………………….

The guarantee period ………………………………………………………………………………………………………

…………………………………………………………………

………………………………………………………

Place, date					The Contractor’s signature