**Attachment No. 1: Model offer form**

Name and address of the Contractor:……………………………………………………

Contact ..………………………………………………… person ……………………………… e-mail: ………………………….

Subject of the contract: **PTMScan® Ubiquitin Standard Service or equivalent for two samples**

|  |  |  |  |
| --- | --- | --- | --- |
|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO)  | NOTES |
| 1. | **PTMScan® Ubiquitin Standard Service*** Samples will be normalized by weight (milligrams of protein extract);
* Samples will be protease digested and fractionated by solid-phase extraction;
* Fractionated peptide Samples will be incubated with the designated immobilized PTM-motif antibody and peptides containing the corresponding PTM-sequences will be eluted. The peptide solution remaining after immunoaffinity purification will be retained and stored properly to enable further PTMScan® Discovery analyses, discarded or returned to Customer.
* The peptide fraction eluted from PTM-motif antibody will be analyzed by liquid chromatography-tandem mass spectrometry.
* Tandem mass spectra will be assigned to peptide sequences using SEQUEST or a comparable program. Peptide sequences assignments will be linked to parent ion peak intensities to measure approximate fold-changes in validated peptides between paired Samples.
 | (YES/NO) |  |

Net…………………………………………………………… price , .……….%VAT………………… Gross…………………………………………………………………………… price

The price should be given with the currency e.g. USD, PLN, EURO.

It is allowed to submit in currencies other than PLN. For the comparison of offers, the selling rate on the date of the inquiry is used.

Order completion date .………………………….. (max. 10 weeks).

The Contractor will draw up the Contract in agreement with the Contracting party.

 …………………………………………… ………………………………………

Place, date Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, tel.: (48-22) 589 21 91 ; e-mail: f.dziaczkowski@nencki.edu.pl; <http://www.nencki.gov.pl_>