**Attachment No. 1: Template of an offer form**

Name and address of the Contractor:……………………………………………………

Contact person..…………………………………Phone number………………………………… e-mail: ………………………………………………….

Subject of the contract: **Multi-channel silicon probes.**

|  |  |  |  |
| --- | --- | --- | --- |
|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO)  | NOTES |
| 1. | **Five multi-channel silicon probes suitable for recording action potentials in rodent brain *in-vivo*.*** Minimum number of simultaneously active channels per probe: 350.
* Integrated amplifier (signal amplified and digitized on site).
* Compatible with National Instruments system for data acquisition (PXIe-1071).
 | (YES/NO) |  |

Net……………………………………………… price .

.……….%VAT………………

Gross………………………………………… price

Order completion date .………… days from the date of signing the contract (max. 90 days).

The price should be given with the currency e.g. USD, PLN, EURO.

Offer total price in PLN will be estimated in accordance with BGK Bank currency sale exchange rate on the day of 21.07.2021.

I have read the model agreement attached as Appendix No. 2 to the inquiry and I do not raise any objections to it.

 …………………………………………… …………………......………………………… Place, date Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, e-mail: k.kondrakiewicz@nencki.edu.pl; <http://www.nencki.edu.pl_>