**Attachment No. 1: Template of an offer form**

Name and address of the Contractor:……………………………………………………

Contact person..…………………………………Phone number………………………………… e-mail: ………………………………………………….

Subject of the contract: **Acquisition system.**

|  |  |  |  |
| --- | --- | --- | --- |
|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO)  | NOTES |
| 1. | **Acquisition system for electrophysiology (analog-digital interface) with the following parameters and functions:*** At least one HumSilencer channel
* Analog out: 8 channels, 8 DACs, ±10 V range, 16-bit resolution, 1 Hz–500 kHz sampling rates
* Analog in: 8 channels, 8 ADCs, ±10 V range, 16-bit resolution, 1 Hz–500 kHz sampling rates
* Digital out: 8 bits, BNC and DB-25F connections
* Digital triggers: Start input, tag input, scope output
* Telegraphs: 4 BNC input channels or via internal Windows messaging for supported software
* Analog output impedance (<0.5 om)
* Analog input resistance (>1 Mom)
* Digital output current (± 4 mA source)
* Communications USB 2.0
* Working in Win 10
* USB 2.0 cable
* Power cord
* 100–240 Vac 50–60 Hz, 50 watts (max.)
* Working with Multiclamp 700B (with automatic rescaling)
 | (YES/NO) |  |

Net……………………………………………… price .

.……….%VAT………………

Gross………………………………………… price

Order completion date .………… days from the date of signing the contract (max. 60 days).

Warranty:min. ……………………. (min. 12 months).

The price should be given with the currency e.g. USD, PLN, EURO.

Offer total price in PLN will be estimated in accordance with BGK Bank currency sale exchange rate on the day of 26.08.2021.

I have read the model agreement attached as Appendix No. 2 to the inquiry and I do not raise any objections to it.

 …………………………………………… …………………......………………………… Place, date Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, e-mail: j.ciecko@nencki.edu.pl; <http://www.nencki.edu.pl_>