**Attachment No. 1: Template of an offer form**

Name and address of the Contractor:……………………………………………………

Contact person..…………………………………Phone number………………………………… e-mail: ………………………………………………….

Subject of the contract: **Temperature controller**

|  |  |  |  |
| --- | --- | --- | --- |
|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO)  | NOTES |
| 1. | **Temperature controller for in vitro electrophysiological recordings including the following parameters and functions:*** Temperature controller (one-channel)
* Heating device (for flow rate 5ml/min)
* Temperature sensor for recording chamber (around1 x 6 mm)
* Magnetic holder for heating device
* Cord cables
* Suitable for in vitro electrophysiological recording (low electrical noise)
* Control rage around 10-40 C
* Accuracy =/- 0.5C
* alarm
 | (YES/NO) |  |

Net……………………………………………… price .

.……….%VAT………………

Gross………………………………………… price

Order completion date… .………… days from the date of signing the contract (max. 60 days).

Warranty:min. ……………………. (min. 12 months).

The price should be given with the currency e.g. USD, PLN, EURO.

Offer total price in PLN will be estimated in accordance with BGK Bank currency sale exchange rate on the day of 16.09.2021

I have read the model agreement attached as Appendix No. 2 to the inquiry and I do not raise any objections to it.

 …………………………………………… …………………......………………………… Place, date Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, e-mail: j.ciecko@nencki.edu.pl; <http://www.nencki.edu.pl_>