Warsaw, dated February 18th, 2019.

# THE REQUEST FOR PROPOSAL NO. 11/2019

for the supply

specialized system for analysis of

contractile parameters of muscle fibers isolated from skeletal muscle

to the Nencki Institute of Experimental Biology of the Polish Academy of Sciences

The Contracting Authority : the Nencki Institute of Experimental Biology of the Polish Academy of Sciences, with a registered seat at 3 Pasteur St., Warsaw (02-093), NIP: 525-000-92-69, REGON:000325825

The contact person regarding the order:

Prof. Maria Jolanta Redowicz

The e-mail address:

j.redowicz@nencki.gov.pl

The deadline for submitting offers: February 28th, 2019

I. The subject of the contract description:

The subject of the contract is: specialized system for analysis of contractile parameters of muscle fibers isolated from skeletal muscle.

Characteristics of the system:

-Automated sample chamber (controlling the fiber position in XYZ axes at micrometer range) containing at least eight sample wells (with 120 microliter volume each); resolution as low as 0.00mircoN; range of peak forces 0.5 Mn to 100 mN

-Software with standard protocols enabling data acquisition and sample analysis in real time of the fiber contraction parameters - force, velocity, fiber and sarcomere length, etc.

-Possibility of performing pCa experiments

-System manufactured of corrosion-resistant materials

- Bath and sample controller

- Possibility of easy mounting on inverted microscope Nikon Diaphot TMD-EF

The provider should be able to install the system and train the users by March 31st, 2019.

The warranty period should cover at least 24 months

ll. The offer preparation description and its evaluation

1.	The offer should be prepared on template No. 1 attached to the Proposal.

2 . The offer should include Information on the total net value and gross value of the contract: The Contractor whose offer has been selected before signing the contract will provide the following scans: a certificate of entry in the business register, a REGON (statistical identification number) certificate and a certificate of NIP (VAT identification number ) awarding.

- The offers should be sent electronically by e-mail in the form of a scanned original offer to the following address: j.redowicz@nencki.gov.pl

- Please mark the offer in the title of the message: muscle contraction test system

- Only offers including all the above-mentioned elements will be evaluated.

6 . In the selection process, the Contracting Authority will be guided by the price criterion when meeting the (yes/no) contract requirements.

Ill. Additional information:

- In order to execute the contract with a selected Contractor, a contract agreement shall be concluded.

- The Contracting Authority reserves the right to negotiate the terms of the contract with the best Contractors.

- The Contracting Authority reserves the right not to choose any of the Contractors.

- The selection of the Contractor will be announced on the Contracting Authority's website immediately after the end of the procedure.

Appendix No. 1: The template form of an offer

The Contractor's name and address: . The contact person:

The name, model/ producer ..... ..... ..... ....................................................................

………………………………………………………………………………………………………………………………………………………..

………………………………………………………………………………………………………………………………………………………

| Item no. | THE DESCRIPTION , rating for parameters and requirements if we choose the option ofscoring of parameters and requirements | The fulfillment of the requirement (YES / NO) t | COMMENTS |
| --- | --- | --- | --- |
| 1 | Automated sample chamber (controlling the fiber position in XYZ axes at micrometer range) containing at least eight sample wells (with 120 microliter volume each); resolution as low as 0.00mircoN; range of peak forces 0.5 Mn to 100 mN |  |  |
| 2 | Software with standard protocols enabling data acquisition and sample analysis in real time of the fiber contraction parameters - force, velocity, fiber and sarcomere length, etc. |  |  |
| 3 | Possibility of performing pCa experiments |  |  |
| 4 | System manufactured of corrosion-resistant materials |  |  |
| 5. | Bath and sample controller |  |  |
| 6 | Possibility of easy mounting on inverted microscope Nikon Diaphot TMD-EF |  |  |
| 7 | System installation |  |  |
| 9 | 1 day Training for 6 users |  |  |
| 9 | Warranty period of at least 24 months |  |  |
| 10 | Delivery not later than March 31, 2019 |  |  |

Net pricePLN,

% VATPLN

Gross pricePLN

Date of order fulfillment

Guarantee period

…………………………………………….

………………….....................................

Place, date	Contractor's stamp and signature