[image: image1.jpg]J\— .
);\ nencki institute

of experimental biology












Warsaw, dated 06.08.2019.
.
THE REQUEST FOR QUOTATION NO. 78/2019
for the supply/service


System for perfusion of recording pipettes during “patch-clamp” recordings. 
to the Nencki Institute of Experimental Biology
 of the Polish Academy of Sciences
The Contracting Authority : the Nencki Institute of Experimental Biology  of the Polish Academy of Sciences, with a registered seat at 3 Pasteur St., Warsaw (02-093), NIP: 525-000-92-69, REGON:000325825
The contact person regarding the procurement order: Agnieszka Walewska/Piotr Koprowski
The e-mail address: a.walewska@nencki.gov.pl 

The deadline for submitting quotation bids: no later than by 09.08.2019, by 12 p.m.

I. The subject matter of the contract description:
The subject matter of the contract is: System for perfusion of recording pipettes during “patch-clamp” recordings. System allows exchange of the liquid inside the recording pipette without disruption of the membrane patch. Key features of the system: 1)  Perfusion pipette holder matching the head of amplifier Axopatch 200B (Molecular Devices); 2) Pressure and vacuum controller to balance pressure on patch while driving fluid flow; 3) Quartz capillary tube for proximal positioning of fluid to pipette tip. 

II. The quotation bid preparation description and its evaluation
1.  The quotation bid should be prepared on the template No. 1 attached to this Request.
2. The quotation bid should include Information on the total net value and gross value of the contract: The Contractor whose quotation bid has been selected before signing the contract will provide the following scans: a certificate of entry in the business register, a REGON (statistical identification number) certificate and a certificate of NIP (VAT identification number) awarding.
3. The quotation bids should be sent electronically by e-mail in the form of a scanned original o quotation bid to the following address: a.walewska@nencki.gov.pl
4. Please mark the quotation bid in the title of the message: “pipette perfusion system”
5. Only quotation bids including all the above-mentioned elements will be evaluated.
6. In the selection process, the Contracting Authority will be guided by the price criterion when meeting the (yes/no) contract requirements.
III. Additional information:
1. In order to execute the contract with a selected Contractor, a contract agreement shall be 
concluded.
2. The Contracting Authority reserves the right to negotiate the terms of the contract with the best Contractors.
3. The Contracting Authority reserves the right not to choose any of the Contractors.
4. The selection of the Contractor will be announced on the Contracting Authority’s website immediately after the end of the contract award procedure.
Appendix No. 1: The quotation bid template form
The Contractor’s name and address: ………………………………………………………
The contact person: ………………………………………………………………………….
The name, model/ producer ……………………………………………………………………………….
……………………………………………………………………………………………………………………………………………………
	
	THE DESCRIPTION  of parameters and requirements

	The fulfillment of the requirement (YES / NO) 

	COMMENTS

	1.
	Perfusion pipette holder matching the head of amplifier Axopatch 200B (Molecular Devices)
	
	

	2.
	Pressure and vacuum controller to balance pressure on patch while driving fluid flow
	
	

	3.
	Quartz capillary tube for proximal positioning of fluid to pipette tip.
	
	

	4.
	The guarantee 12 months
	
	


The net price ……………………………………………………………………………………………….. PLN,
…………………………….. % VAT …………………………………………………….……………………. PLN
The gross price ………………………………………………………………………………………….. PLN
The date of order fulfillment …………………………………………………………………………………………….
The guarantee period ………………………………………………………………………………………………………
I got acquainted with the project of the Agreement (attachment no. 2) to request for quotation and 
I don’t raise any objections.  
………………………………………………………………

………………………………………………………………….…
Place, date



The Contractor’s stamp and signature
[image: image2.png]oo



[image: image3.png]



