Attachment No. 1: Model offer form

Name and address of the Contractor:……………………………………………………

Contact ..………………………………………………… person ……………………………… e-mail: ………………………….

Subject of the contract: Single-channel high power electric stimulator

|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO) | NOTES |
| --- | --- | --- | --- |
| 1. | - Single-channel high power electric stimulator with the following features: - Possibility to switch between constant current and constant voltage modes - Isolated high power output signal - No batteries required for output operation - Maximum voltage: 200 V - Maximum current: 100 mA - Minimum pulse time: 1 microsecond - Maximum pulse time: 25 hours - Can be triggered with a TTL signal sent from external devices and has a built-in BNC socket for this purpose - Can be controlled via the device's control panel and via software installed in Windows 10 environment - Output waveform types: monophasic, biphasic, ramps, user generated custom waveforms - For use in a 220 V / 50 Hz power system | (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) |  |

Net…………………………………………………………… price .PLN, .……….%VAT………………… ..PLN

Gross…………………………………………………………………………… price PLN

Order completion date .……………………………………………………………….. (max. to 6 weeks)

Warranty period:…………………………………………………………… (min. 12 months).

I have read the model agreement attached as Appendix No. 2 to the inquiry and I do not raise any objections to it

……………………………………………                                                                …………………………………….………………

Place, date                                                                                             Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, tel: (48-22) 5892339; e-mail: p.michaluk@nencki.edu.pl; http://www.nencki.gov.pl_