Attachment No. 1: Template of an offer form

Name and address of the Contractor:……………………………………………………

Contact person..…………………………………Phone number………………………………… e-mail: ………………………………………………….

Subject of the contract: Multi-channel probes for recording electrophysiological signals - NeuroNexus

or equivalent and 64-channel preamplifier dedicated to selected electrodes

|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO) | NOTES |
| --- | --- | --- | --- |
| 1. | Multi-channel probes for recording electrophysiological signals – NeuroNexus or equivalent (according to the description - Attachment no 1a) - Probes with electrodes of small area (<200 µm2) allowing to register field potentials and action potentials. - The electrodes should be spread out on a regular grid: - 8x8 (spacing 0.2x0.2 mm); - 4x8 (0.2x0.2 mm and 0.2x0.4 mm spacing) - 1X16 (0.1 MM SPACING) | (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) |  |
| 2. | 64-channel preamplifier (HEADSAGE) compatibile with smartbox data acquisition system dedicated to selected electrodes (according to the description - Attachment no 1a) | (YES/NO) |  |

Net……………………………………………… price ., .……….%VAT………………… ..

Gross………………………………………… price

Order completion date .…………weeks from the date of signing the contract (max. 4 (four) weeks)

The Attachment no 1a should be completed with prices and attached to the offer. Total amounts in the Attachment no 1a must equal the total price of the offer.

The price should be given with the currency e.g. USD, PLN, EURO.

Offer total price in PLN will be estimated in accordance with BGK Bank currency sale exchange rate on the day of the offers oppening.

I have read the model agreement attached as Appendix No. 2 to the inquiry and I do not raise any objections to it.

……………………………………………                                                               …………………......…………………………          		      Place, date                                                                       	Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, tel: (48-22) 589 24 20, 589 23 64; e-mail: e.kublik@nencki.edu.pl; http://www.nencki.gov.pl_