Attachment No. 1: Model offer form

Name and address of the Contractor:……………………………………………………

Contact ..………………………………………………… person ……………………………… e-mail: ………………………….

Subject of the contract: Glass micropipette versatile puller

|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO) | NOTES |
| --- | --- | --- | --- |
| 1. | Glass micropipette versatile puller with the following parameters : - Automated double pulling - One-stage and two-stage pulling mode - Pulling force - free fall by gravity - Pulling force adjusted by weights - Working voltage: AC100V - AC240V, 50/60 Hz - Heating element: kanthal wire - Accessories included: Spare Heater (kanthal wire), AC Power cord - Power consumption Approx. 72 W - Dimensions max. W 220 × D 200 × H 200 mm - Weight max. 3.5 kg | (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) |  |

Net ………………………………… price (EUR, USD)

.………. %VAT ………………… ..

Gross ……………………………… price (EUR, USD)

Order completion date .……………………weeks from the date of the contract (max. 6 weeks)

Warranty period: ………………………… (min. 12 months).

I have read the model agreement attached as Appendix No. 2 to the inquiry and I do not raise any objections to it

……………………………………………                                                                …………………………………………………          		      Place, date                                                                       Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, tel: (48-22) 589 23 43; e-mail: b.kulawiak@nencki.edu.pl; http://www.nencki.gov.pl_