Attachment No. 1: Model offer form

Name and address of the Contractor:……………………………………………………

Contact ..………………………………………………… person ……………………………… e-mail: ………………………….

Subject of the contract: micromanipulator for patch-clamp recording

|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO) | NOTES |
| --- | --- | --- | --- |
|  | Micromanipulator for patch-clamp recording with the following parameters : - mountable on „Gibraltar”platform - Motorized - right-handed - travel 25mm on all 3 axes - diagonal axis - minimal resolution 62,5 nm - maximal speed 2mm/s - movement display on the rotary optical encoder - at least 6 microstep sizes selectable The offer should include: - mikromanipulator, - controler, - rotatory optical encoder/joystick, - cables 220-240 V, 50-60Hz - screws, other accessories necessary for the operation | (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) (YES/NO) |  |

Net ………………………………… price  .………. %VAT ………………… ..

Gross ……………………………… price

The price should be given with the currency e.g. USD, PLN, EURO.

It is allowed to submit in currencies other than PLN. For the comparison of offers, the selling rate on the date of the inquiry is used.

Order completion date .……………………weeks from the date of the contract (max. 6 weeks)

Warranty period: ………………………… (min. 12 months).

I have read the model agreement attached as Appendix No. 2 to the inquiry and I do not raise any objections to it

……………………………………………                                                             ……………………………………………          		      Place, date                                                                       		Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, tel: (48-22) 589 2242; e-mail: j.ciecko@nencki.edu.pl; http://www.nencki.gov.pl_