Attachment No. 1: Model offer form

Name and address of the Contractor:……………………………………………………

Contact ..………………………………………………… person ……………………………… e-mail: ………………………….

Subject of the contract: SciCam Pro with PCIeCard and LinLab II and Product Manuals USB

|  | DESCRIPTION and scoring of parameters and requirements | Compliance with the requirement (YES/NO) | NOTES |
| --- | --- | --- | --- |
| 1. | SciCam Pro with PCIeCard - Scientifica CCD camera 24fps at full resolution (40 fps binned 2x2), 14 bit, 11 mm diagonal Sony sensor. - Fast USB 3.0 interface it comes with Ocular software, compatible with Windows 7 (64 bit), Windows 8 (64 bit) and Windows 10 (bit). - Includes 2 Port PCI Express (PCIe) SuperSpeedd USB 3.0 Card Adapter with UASP – LP4 Power (recommended for optimal camera performance). | (YES/NO) (YES/NO) (YES/NO) |  |
| 2. | LinLab II and Product Manuals USB | (YES/NO) |  |
| 3. | Guarantee min. 12 months | (YES/NO) |  |
| 4. | Deadline for completion of the order (max: to 4 weeks) | (YES/NO) |  |

Net…………………………………………………………… price .PLN, .……….%VAT………………… ..PLN

Gross…………………………………………………………………………… price PLN

Order completion date .……………………………………………………………….. (max. to 4 weeks)

Warranty period:…………………………………………………………………………………… .

I have read the model agreement attached as Appendix No. 2 to the inquiry and I do not raise any objections to it

……………………………………………                                                                …………………………………          		      Place, date                                                                       Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, tel: (48-22) 589 2268; e-mail: k.radwanska@nencki.edu.pl; http://www.nencki.gov.pl_