Warsaw, 07.11.2019.

InquirY No. 144/2019

for the delivery

of equipment to remote stimulation NeuroLux Optogenetics Starter Kit (or equivalent)

to the Marceli Nencki Institute of Experimental Biology

Polish Academy of Sciences

Ordering party: Institute of Experimental Biology named after M. Nencki, Polish Academy of Sciences,

with its registered office at 3 Pasteura Street, Warsaw (02-093), NIP:525-000-92-69, REGON 000325825

Contact person for the order: Dorota Gierej-Czerkies

e-mail: d.gierej-czerkies@nencki.gov.pl

Deadline for submission of tenders: not later than 15.11.2019. by 12:00 p.m.

I. Description of the subject matter of the contract:

The subject of the contract is equipment to remote stimulation NeuroLux Optogenetics Starter Kit
(or equivalent) including:

- Power Distributions Control Box 1 pcs

- Laptop w/custom control software 1 pcs

- Cage RF auto matching box 1 pcs

- Custom stereotactic implant adapter 1 pcs

- (470nm/4mm) wireless implant device w/indicator 30 pcs

- Hardware kit w/cables conncestors 1 pcs

- RF Splitter box

- Additional Cage RF auto matching box

- Additional wireless implant device w/indicator 30 pcs

The Equipment to remote stimulation NeuroLux Optogenetics Starter Kit  is designed to allow the testing of freely behaving subjects. The set described above must be integrated with the Eco-Hab. system, which is standard in Nencki Institute research (the method of implantation of wireless stimulation devices is crucial due to the spherical dysfunctions in the Eco-HAB system).

Technical requirements of individual components:

- control software which allows researchers to select the wavelength and to program the frequency and duration of a user-defined pulse (for stimulation or braking)

- LEDs in different colours (min. ……) to test different behaviours

- Neurolux implants - without fiber optic cables, batteries and accumulators, wirelessly controlled, ultra-lightweight (0.02 g), without external antennas, giving the possibility to attach them to the skull for up to 14 months, not affecting the free movement of the examined individuals.

CPV code:

38540000-2 Research and measurement machinery and apparatus

38425000-0 Measuring and control equipment

3497000000-7 Motion monitoring equipment

Warranty Period - according to the declaration in the Contractor's offer (min. 12 months)

Order completion date - according to the declaration in the Contractor's offer (max. 4 weeks)

II. Information concerning the offer of an equivalent product:

In case of offering a product equivalent to the NeuroLux Optogenetics Starter Kit described in this inquiry, i.e. a remote stimulation device from another manufacturer, which contains the same elements and has the same or better research capabilities, the Economic Operator is obliged to attach to the offer a catalogue card (description) or a statement from the manufacturer stating that the offered cage set is equivalent to the set described in the description of the subject matter of the order and enables identical tests to be carried out.

III. Description of the Preparation of the Offer and its Evaluation:

- The offer should be prepared on model No. 1 attached to the Inquiry.

- The offer should include information about the total net and gross value of the order: Before signing the contract, the Economic Operator, whose bid will be selected, will deliver the following scans: certificates of entry into the business register, REGON certificate and NIP certificate.

- Tenders should be sent electronically in the form of a scanned original tender by e-mail to:

d.gierej-czerkies@nencki.gov.pl

- Please mark the offer in the message title: NeuroLux Optogenetics Starter Kit.

- Only offers that contain all the elements listed above will be evaluated.

- In the selection process the Purchaser will be guided by the price criterion (100%).

IV. Additional information:

- In order to complete the order with the selected Contractor, a contract will be signed according to Appendix No. 2 to the Inquiry.

- Maximum order completion date under the contract (according to the declaration in the offer).

- The Contracting Authority reserves the right to negotiate the terms of the contract with the best contractors.

- The Contracting Authority reserves the right not to select any of the Economic Operators.

- The choice of the Contractor will be announced on the website. The contracting authority shall do so without delay after the end of the procedure.