Warsaw, 04.11.2019 r.

InquirY No 139 /2019

for the delivery

remote stimulation device Model 220A olfactometers from Aurora Scientific Inc.

(or equivalent)

to the Marceli Nencki Institute of Experimental Biology

Polish Academy of Sciences

Ordering party: Institute of Experimental Biology named after M. Nencki, Polish Academy of Sciences,

with its registered office at 3 Pasteura Street, Warsaw (02-093), NIP:525-000-92-69, REGON 000325825

Contact person for the order: Dorota Gierej-Czerkies

e-mail: d.gierej-czerkies@nencki.gov.pl

Deadline for submission of tenders: not later than 08 .11.2019 r. by 12:00 p.m.

I. Description of the subject matter of the contract:

The subject matter of the contract is: An olfactometer (remote stimulation device) characterized by:

- High time resolution of odour application, defined by opening and closing delays 20 and 50-60 ms respectively (standard measurement using 1/8’’  OD Teflon tubing with a length of 8 cm).

- Repeatability of odour pulse characteristics , defined with observed variation of 1-2 ms on rise and fall time.

CPV code:

38540000-2 Research and measurement machinery and apparatus

38425000-0 Measuring and control equipment

Warranty Period - according to the declaration in the Contractor's offer (min. 36 months)

Order date - according to the declaration in the Contractor's offer (not later than 18.12.2019)

II. Information concerning the offer of an equivalent product:

If a product equivalent to the remote stimulation device described in this inquiry is offered, the Model 220A Remote Stimulation System from Aurora Scientific Inc., the Contractor is obliged to attach to the offer a catalogue card (description) or a declaration of the manufacturer stating that the offered device is equivalent to the device described in the description of the subject matter of the order and enables to conduct identical tests.

III. Description of the Preparation of the Offer and its Evaluation:

- The offer should be prepared on the form (attachment 1 to the Inquiry)

- The offer should include information about the price, time of delivery and the warranty.

- Tenders should be sent electronically in the form of a scanned original tender by e-mail to: d.gierej-czerkies@nencki.gov.pl

- Please mark the offer in the message title: Olfactometer 220A from Aurora Scientific Inc.

- Only offers that contain all the elements listed above will be evaluated.

- In the selection process, the Contracting Authority will be guided by the criterion of the highest number of points obtained, calculated according to the formula: Number of points of the offer under consideration =( lowest price in all offers / price in the offer) * 100.

In case of bids submitted by foreign Bidders (for comparison of bids - the Contracting Authority will add VAT to the net price in the offer bid). In such a case, VAT shall be paid  by the Contracting Authority

IV. Additional information:

- In order to complete the order, a contract will be signed with the selected Contractor.

- Maximum delivery date in the contract - until 18.12.2019. (actual deadline as declared in the tender).

- The Contracting Authority reserves the right to negotiate the terms of the contract with the best contractors.

- The Contracting Authority reserves the right not to select any of the Economic Operators.

- The selection of the Contractor based on the highest number of points will be announced on the website. The contracting authority shall do so without delay after the end of the procedure.