Warsaw, 05.05.2020

Request for quotation No 55/2020

for the delivery

Multi-channel SILICON probes for recording electrophysiological signals - NeuroNexus

or equivalent

and

64-channel preamplifier (HEADSTAGE) compatibile with smartbox recording system dedicated to selected electrodes

to the Marceli Nencki Institute of Experimental Biology

Polish Academy of Sciences

Ordering party: Institute of Experimental Biology named after M. Nencki, Polish Academy of Sciences, with its registered office at 3 Pasteura Street, Warsaw (02-093), NIP: 525-000-92-69, REGON: 000325825

Contact person for the contract: Ewa Kublik

e-mail: e.kublik@nencki.edu.pl

Deadline for submission of tenders: no later than 13.05.2020, to 12:00 p.m.

I. Description of the subject of the contract:

The subject of the contract is:

- Multi-channel SILICON probes for recording electrophysiological signals – NeuroNexus or equivalent

(according to the description - attachment no 1a)

- Probes with electrodes’ CONTACTS of small area (<200 µm2) allowing to register field potentials and action potentials.

- The electrodes’ should be spread out on a regular grid:

- 8x8 (spacing 0.2x0.2 mm);

- 4x8 (0.2x0.2 mm and 0.2x0.4 mm spacing)

- 1X16 (0.1 mm spacing)

- 64-channel preamplifier (HEADSTAGE) compatibile with smartbox recording system dedicated to selected electrodes (according to the description - attachment no 1a)

The price includes the delivery of electrodes and remote technical support.

II. Criteria for the evaluation of OFERS

In the selection process, the Contracting Authority shall be guided by the price criterion applied to offers fulfilling the conditions for participation in the procedure.

III. Description of the Preparation of the Offer and its Evaluation:

- The offer should be prepared in accordance with the template form Inquiry ATTACHMENT No. 1.

- The Attachment No 1a should be completed with prices and attached to the offer. Total amounts in the Attachment no 1a must equal the total price of the offer.

- The offer should include information about the total net and gross value of the order: Before signing the contract, the Economic Operator, whose bid will be selected, will deliver the following scans: COMPANY REGISTRATION NUMBER AND VAT NUMBER, AND, IN CASE OF POLISH COMPANIES REGON certificate and VAT NUMBER ASSIGNEMENT certificate.

- Offers must be sent electronically in the form of a scanned original form by e-mail to the following address: e.kublik@nencki.edu.pl

Please mark the offer in the message title: Multi-channel probes and 64-channel preamplifier.

- Only offers which meet all requirements specified in point I - "Description of the subject matter of the Contract" shall be taken into consideration.

IV. Additional information:

- In order to complete the order, a contract will be signed with the selected Contractor.

- The maximum completion date for each order under the contract is max. 4 weeks (the declared delivery date is indicated by the Contractor in the offer).

- The invoice should contain separate items for individual electrodes and the preamplifier with their prices.

- The Contracting Authority reserves the right to negotiate the terms of the contract with the best contractors.

- The Contracting Authority reserves the right not to select any of the Economic Operators.

- The choice of the Contractor will be announced on the website. The contracting authority shall do so without delay after the end of the procedure.