Warsaw, 01.06.2020

Request for quotation No. 67/2020

for the delivery

Glass micropipette versatile puller

to the Marceli Nencki Institute of Experimental Biology

Polish Academy of Sciences

Ordering party: Institute of Experimental Biology named after M. Nencki, Polish Academy of Sciences, with its registered office at 3 Pasteura Street, Warsaw (02-093), NIP: 525-000-92-69, REGON: 000325825

Contact person for the contract: Bogusz Kulawiak

e-mail: b.kulawiak@nencki.edu.pl

Deadline for submission of tenders: no later than 08.06.2020, to 12:00 p.m.

I. Description of the subject matter of the contract:

The subject of the contract is:

- Glass micropipette versatile puller with the following parameters :

- Automated double pulling

- One-stage and two-stage pulling mode

- Pulling force - free fall by gravity

- Pulling force adjusted by weights

- Working voltage: AC100V - AC240V, 50/60 Hz

- Heating element: kanthal wire

- Accessories included: Spare Heater (kanthal wire), AC Power cord

- Power consumption Approx. 72 W

- Dimensions max. W 220 × D 200 × H 200 mm

- Weight max. 3.5 kg

Warranty: min. 12 months

II Criteria for the evaluation of tenders

In the selection process, the Contracting Authority shall be guided by the price criterion while fulfilling the conditions for participation in the procedure.

III Description of the Preparation of the Offer and its Evaluation:

- The offer should be prepared on model No. 1 attached to the Inquiry.

- The offer should include information about the total net and gross value of the order: Before signing the contract, the Economic Operator, whose bid will be selected, will deliver the following scans: certificates of entry into the business register, REGON certificate and NIP certificate.

- Tenders must be sent electronically in the form of a scanned original tender by e-mail to the following address: b.kulawiak@nencki.edu.pl.

- Please mark the offer in the message title: Glass micropipette versatile puller.

- Only offers containing all the elements listed above will be evaluated.

IV Additional information:

- In order to complete the order, a contract will be signed with the selected Contractor.

- The maximum completion date is 6 weeks from the date of the contract (the declared delivery date is indicated by the Contractor in the offer).

- The Contracting Authority reserves the right to negotiate the terms of the contract with the best contractors.

- The Contracting Authority reserves the right not to select any of the Economic Operators.

- The choice of the Contractor will be announced on the website. The contracting authority shall do so without delay after the end of the procedure.