**Appendix No. 1: Bid form template**

Name and address of the Contractor:……………………………………………………

Contact person..…………………………………Phone number………………………………… e-mail: ………………………………………………….

Subject of the contract: **Patch-clamp amplifier with digitalizer**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Lp.** | **Requirements description** | **Requirement met (YES/NO)** | **Device model and manufacturer** | **NOTES** |
| 1. | A two-channel differential amplifier for use in whole cell patch-clamp electrophysiological recordings together with a data acquisition module.   * The amplifier should be equipped with two preamplifiers for simultaneous recordings. Alternatively, the device may consist of two coupled amplifiers. In this case each of them should be equipped with separate single preamplifier. * The device should be equipped with a microelectrode holder mounted on the preamplifier as well as in model cell circuit mounted the same way. * The data acquisition module should have at least 8 channels of analog input, at least 2 channels of analog output, at least 8 channels of digital outputs compatible with TTL signal. | YES/NO |  |  |
| 2. | Delivery, | YES/NO |  |  |

Net PLN …………………………………………… price,

The bid price must be expressed in Polish zloty (PLN).

The settlement with the contractor will be made in Polish zlotys (PLN), but in the case of a foreign contractor, he will

receive it in euro (EUR) at the exchange rate of his bank.

Contract completion date .………….. from the date of signing the agreement (max. 10 weeks).

Warranty:min. ……………………. (min. 12 months).

I declare that I am not subject to exclusion from the proceedings pursuant to Article 7 paragraph 1 of the Act of 13 April 2022 on special solutions to prevent the support of aggression against Ukraine and to protect national security (Journal of Laws of 2021, item 835)

I have read the model agreement attached as Appendix No. 2 to the request for quotation and I do not raise any objections to it.

…………………………………………… …………………......………………………… Place, date Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, e-mail: a.gorlewicz@nencki.edu.pl; <http://www.nencki.edu.pl_>