**Appendix No. 1: Bid form template (Modification, dated 28.06.2023)**

Name and address of the Contractor:……………………………………………………

Contact person..…………………………………Phone number………………………………… e-mail: ………………………………………………….

Subject of the contract: **Controller for local and precise temperature control during microscopy.**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Lp.** | **Requirements description** | **Requirement met (YES/NO)** | **Device model and manufacturer** | **NOTES** |
| 1. | Controller for local and precise temperature control during microscopy:   * the controller is to enable fast, local and precise heating of the sample while it is simultaneously imaged on the microscope * instrument must be capable of direct temperature detection in the sample volume * heating temperature range from room temperature (sample temperature on the microscope) to min. 100 °C * temperature precision min 0.15 °C * a maximum heating rate not less than 60 °C/s * the ability to program temperature changes * the possibility of heating the sample locally, without heating the elements of the microscope * compatibility with a confocal microscope * additional heating and cooling insert enabling sample temperature control in the range from no more than 10°C to a minimum of 45°C as a stand-alone unit * the insert must come with the ability to actively control the level of carbon dioxide and humidity inside the sample chamber after connecting to external CO2 and Air supply * the insert must have a full remote temperature control allowing for automation of experiments and precise tracking of physical parameters | YES/NO |  |  |
| 2. | Delivery, shipment, personal or remote device installation instructions and training | YES/NO |  |  |

Controller:

Net PLN …………………………………………… price

Cooling insert:

Net PLN …………………………………………… price

Price for the entire subject of the contract:

Net PLN …………………………………………… price

The bid price must be expressed in Polish zloty (PLN).

The settlement with the contractor will be made in Polish zlotys (PLN), but in the case of a foreign contractor, he will

receive it in euro (EUR) at the exchange rate of his bank.

Contract completion date:

* delivery of the controller ………………………………… days (max. to 14 days from the date of the contract)

- delivery of the cooling insert ………………………………months (max. to 6 months from the date of the contract)

Warranty:min. ……………………. (min. 12 months).

I declare that I am not subject to exclusion from the proceedings pursuant to Article 7 paragraph 1 of the Act of 13 April 2022 on special solutions to prevent the support of aggression against Ukraine and to protect national security (Journal of Laws of 2021, item 835)

I have read the model agreement attached as Appendix No. 2 to the request for quotation and I do not raise any objections to it.

…………………………………………… …………………......………………………… Place, date Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, e-mail: a.klosin@nencki.edu.pl; <http://www.nencki.edu.pl_>