**Appendix No. 1: Bid form template**

Name and address of the Contractor:……………………………………………………

Contact person..…………………………………Phone number………………………………… e-mail: ………………………………………………….

Subject of the contract: **micropipette puller.**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Lp.** | **Requirements description** | **Requirement met (YES/NO)**  | **Device model and manufacturer** | **NOTES** |
| 1. | Micropipette puller with the following functions and parameters:* Horizonal Micropipette puller
* Memory storage at least 50 programs
* Ramp test option
* Touch screen display
* At least two cooling modes: time and delay
* Safe heat mode
 | YES/NO  |  |  |
| 2. | Delivery, shipment | YES/NO  |  |  |

Net PLN …………………………………………… price,

The bid price must be expressed in Polish zloty (PLN).

The settlement with the contractor will be made in Polish zlotys (PLN), but in the case of a foreign contractor, he will

receive it in euro (EUR) at the exchange rate of his bank.

Contract completion date .………….. from the date of signing the agreement (max. 60 days).

Warranty:min. ……………………. (min. 12 months).

I declare that I am not subject to exclusion from the proceedings pursuant to Article 7 paragraph 1 of the Act of 13 April 2022 on special solutions to prevent the support of aggression against Ukraine and to protect national security (Journal of Laws of 2021, item 835)

I have read the model agreement attached as Appendix No. 2 to the request for quotation and I do not raise any objections to it.

 …………………………………………… …………………......………………………… Place, date Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, e-mail: j.ciecko@nencki.edu.pl; <http://www.nencki.edu.pl_>