**Appendix No. 1: Bid form template**

Name and address of the Contractor:……………………………………………………

Contact person..…………………………………Phone number………………………………… e-mail: ………………………………………………….

Subject of the contract: **Treadmill for rodents**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Lp.** | **Requirements description** | **Requirement met (YES/NO)\*** **\*(delete incorrect)** | **Model****and manufacturer of the device** | **NOTES** |
| 1. | Treadmill for rodents (for 5 rodents) with the following parameters and functions:* single belt
* Independent Lane Control: Each lane counter can be controlled separately.
* Speed: 1-100 meter /minute
* Speed step: 1 meter/ minute
* Acceleration: Adjustable acceleration in 0.1 meter/minute increments
* Slope degree ± 35°
* <20 dB during treadmill function
* Multiple speed and acceleration states can be programmed per trial
* Shock:

163V, adjustable.Adjustable, 1Hz, 2Hz, or 3Hz repetition rate0 – 4mA adjustable in 0.1mA unitsLane dimension: Mouse: Lane size: 44 x 6 x 12 cm (length x width x height), Shock grid size: 12x 6 cm* Overall dimension: Mouse - 800 x 430 x 130 mm (length x width x height)
* Data analysis: export to CSV. file
* Data is given with speed, time, acceleration state
* Data per lane number, Distance, Duration, Shock count, state
* air puff
 | YES/NO  |  |  |
| 2. | Delivery, shipment, customs documents fee | YES/NO  |  |  |

Net PLN …………………………………………… price,

The settlement with the contractor will be made in Polish zlotys (PLN), but in the case of a foreign contractor, he will

receive it in other at the exchange rate of his bank.

In order to compare the prices in a submitted bids, prices given in EUR or USD will be recalculated into PLN  in accordance with the National Bank of Poland exchange rate as of the day on which the deadline for submission of bids expires.

Contract completion date .………….. months from the date of signing the agreement (to 4 weeks).

Warranty - …………………….. (min. 12 months after sign the deliver protocol).

I declare that I am not subject to exclusion from the proceedings pursuant to Article 7 paragraph 1 of the Act of 13 April 2022 on special solutions to prevent the support of aggression against Ukraine and to protect national security (Journal of Laws of 2021, item 835)

I have read the model agreement attached as Appendix No. 2 to the request for quotation and I do not raise any objections to it.

 …………………………………………… …………………......………………………… Place, date Signature and stamp of the Contractor

Pasteur 3, 02-093 Warsaw, e-mail: f.dziaczkowski@nencki.edu.pl; <http://www.nencki.edu.pl_>